## A-Bom
Electrical Component
| Check |  | Location
Protection Relay |  | All PRs | LV
Accessories
sync. Check
CSH30
converter for sepam
sepam software
cable cord
Current transformers |  | CSH120 or 200
Torried (frer)
LPCT
Block CT (NARAYAN)
Volatge Transformers |  | PTs (ECS)
Open delta
Measuring Devices |  | Digital Ammeters (SE) | LV
Digital Ammeters (SACI)
Digital Voltameters (SE)
Digital Voltameters (SACi)
Analogue Amm
Analogue Volt.
Acces. of analogue ammeters
Power Meters
Energy Meters
KWH, KVARH and Elster
Run hour meter
Frequency Meter
Flag Relay & Lock out flag |  | EAW | LV
RCN
VPIS |  | VIU 09
Control Auxillaries |  | CAD | LV
MCBs
PB
Indication lamps
timers
fronts
selectros switches
Socket
Tranducers
Announciator
Summation CTs
Current test box / Voltage test box and Its Plug
CTU
Special Colour/Size cables
Diodes and support for TCS of second shunt trip
Black Plastic Labels |  | white
black
Horn |  | without flasher
with flasher
HYGROSTAT |  | thermostat | LV
Hygrosat (Both brads)
HEATER |  | heater 200watt with its support
Internal lighting for LV Compartement |  | Florecent | LV
incandesent
Circuit Breaker Rating |  | HVX Mandatory AND TERMAINAL PLUG
Option
Raycheme |  | 40/100
30/75